|  | Roofing Installations Installation and Verification Record |
| --- | --- |

PLEASE READ CAREFULLY; This is being provided to you as a tool that you may wish to use in providing a safety and risk management program. You are responsible for providing safety and risk management services. We at Chubb are providing this tool to you in support of our underwriting objectives and we hereby disclaim any obligation to oversee or monitor the adherence to required or otherwise reasonable safety and risk control practices. We further disclaim liability for claims or suits relating to the alleged or actual failure to conduct reasonable safety control practices or relating to the use of or failure to use this document. Please note that neither this tool or any of its components contain every possible operation, inspection requirement or other detail that may be relevant to your project or that may be required by federal or state law, or by local building codes, statutes, or other requirements. This tool is intended only as a guideline, and not as a substitute for consultation with your insurance broker, or for engineering, legal or other professional advice.

| Project Identifier: |  | CM/GC: |  |  |
| --- | --- | --- | --- | --- |
| Owner: |  | Date: |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Subcontractor Management | Prior to start of operations, verify the following are in place at a minimum for each selected subcontractor: |  |  |  |  |  |  |  |  |
|  | - Subcontractor pre-qual process that includes at a minimum: review of last 3 yrs. Experience Modification Rate (EMR), OSHA violations, losses, financial status, and safety culture review/assessment. |  |  |  |  |  |  |  |  |
|  | - Signed/executed subcontract agreement. |  |  |  |  |  |  |  |  |
|  | - Contract includes hold harmless and indemnification agreements in your favor (to the extent allowable by law). |  |  |  |  |  |  |  |  |
|  | - Insurance requirements and limits, to include completed operations coverage, meet contract specifications. |  |  |  |  |  |  |  |  |
|  | - Includes primary and non-contributory additional insured status for contractor, its officer/employees, owner, and any others required. |  |  |  |  |  |  |  |  |
|  | - Verify valid certificates of insurance and endorsements are in place. |  |  |  |  |  |  |  |  |
|  | - An appropriately rated insurance carrier. |  |  |  |  |  |  |  |  |
|  | - Signed waiver of subrogation for WC/GL is received. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
|  | - Where required, verify contractor is licensed to work in/for the city and state where project is located. |  |  |  |  |  |  |  |  |
| Approved Shop Drawings and Specifications | - Build in strict compliance with approved specifications and shop drawings. |  |  |  |  |  |  |  |  |
|  | - Stamped approvals from all applicable parties including building department, structural engineer and/or architect are received and maintained. |  |  |  |  |  |  |  |  |
|  | - RFI’s (request for information) are monitored and followed through to verify completion. |  |  |  |  |  |  |  |  |
|  | - Continuous monitoring is conducted as plans change throughout course of project. |  |  |  |  |  |  |  |  |
|  | - Constructability reviews are completed to identify conflicts, verify adequacy of specifications, and ensure the projects is designed and built for the climate it is located in. |  |  |  |  |  |  |  |  |
| Cranes | - Are either mobile and/or tower cranes to be used to facilitate these operations? |  |  |  |  |  |  |  |  |
|  | - If so, has the Chubb “Crane Installation and Verification Record” section been completed? |  |  |  |  |  |  |  |  |
| Equipment / Material Delivery | - Assure all equipment & materials necessary for roofing work is visually inspected to verify compliance with final approved specifications and shop drawings and is damage/defect free upon arrival. |  |  |  |  |  |  |  |  |
|  | - Field modifications are not conducted unless approved by all parties including the structural engineer and the owner in writing. |  |  |  |  |  |  |  |  |
| Qualified Roof Consultant | - Utilize qualified third-party firm to assist in inspections, design review, installation. |  |  |  |  |  |  |  |  |
|  | - Assure designer, mfr., inspectors & installers are communicating with each other. |  |  |  |  |  |  |  |  |
| Certified Roof Installer | - Assure installer is certified by roof mfr. for the roof system being installed. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Pre-Roof Inspection | Inspections completed to verify compliance w/ approved drawings and specifications. Inspections include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Proper installation of decking materials. |  |  |  |  |  |  |  |  |
|  | - Assure substrate is dry prior to insulation. |  |  |  |  |  |  |  |  |
|  | - Assure roofing material will not overload structural integrity of deck/substrate. |  |  |  |  |  |  |  |  |
|  | - Designer certification is filed prior to installation. |  |  |  |  |  |  |  |  |
| Roof Insulation & Sheathing | - At a minimum, inspected upon delivery during storage & prior to installation. |  |  |  |  |  |  |  |  |
| Rubber Roofs/weld | - Assure conformance to mfr. process for attaching & adhering rubber roofing sections. |  |  |  |  |  |  |  |  |
| Hot Mop Installation | - Tar pots are temperature controlled & assure tar is maintained at mfr. required temperatures for hot asphalt materials. |  |  |  |  |  |  |  |  |
| Roof Testing | - Mfr. completed inspection & testing of the roof installation to assure warranty is provided. |  |  |  |  |  |  |  |  |
|  | - Tests include water/leak, ponding, core tests. |  |  |  |  |  |  |  |  |
|  | - Utilization of third-party qualified roof consultant to perform/assist in inspections. |  |  |  |  |  |  |  |  |
|  | - Electronic testing is considered for complete and intact seams if applicable. |  |  |  |  |  |  |  |  |
|  | - Applicability of new technology such as thermo-imaging should also be assessed. |  |  |  |  |  |  |  |  |
| Material Storage Area's | - At a minimum, inspect for dry conditions and protection from the elements prior to installation. |  |  |  |  |  |  |  |  |
| Roof Inspections | Inspections to verify compliance w/ approved drawings and specifications completed and occur per ply. Inspections include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Underlayment. |  |  |  |  |  |  |  |  |
|  | - Flashing. |  |  |  |  |  |  |  |  |
|  | - Skylights. |  |  |  |  |  |  |  |  |
|  | - Parapets. |  |  |  |  |  |  |  |  |
|  | - AC Lines. |  |  |  |  |  |  |  |  |
|  | - Vent Pipes. |  |  |  |  |  |  |  |  |
|  | - Roof top structures. |  |  |  |  |  |  |  |  |
|  | - Sizing of underlayment. |  |  |  |  |  |  |  |  |
|  | - Scuppers. |  |  |  |  |  |  |  |  |
|  | - Balconies. |  |  |  |  |  |  |  |  |
|  | - Hatches. |  |  |  |  |  |  |  |  |
|  | - Seams. |  |  |  |  |  |  |  |  |
|  | - Gutters. |  |  |  |  |  |  |  |  |
|  | - Ponding and Drains. |  |  |  |  |  |  |  |  |
|  | - Prevention of gaps in underlayment. |  |  |  |  |  |  |  |  |
|  | - Roof penetrations thresholds. |  |  |  |  |  |  |  |  |
|  | - Assess need and condition of pathway pads. |  |  |  |  |  |  |  |  |
|  | - Discharge from down spouts to safe areas. |  |  |  |  |  |  |  |  |
|  | - Compliance to specifications, codes, standards. |  |  |  |  |  |  |  |  |
|  | - Compliance to the National Roofing Contractors Association (NRCA). |  |  |  |  |  |  |  |  |
| Sheet Metal Flashing Installation | Inspections completed to verify compliance w/ approved drawings and specifications. Inspections include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Observe during/after installation & rain. |  |  |  |  |  |  |  |  |
|  | - Base flashing/counter flashing at chimneys. |  |  |  |  |  |  |  |  |
|  | - Installation of chimney sheet metal caps. |  |  |  |  |  |  |  |  |
|  | - Saddle and support on up slope chimneys. |  |  |  |  |  |  |  |  |
|  | - Solder at corner, laps, and joints. |  |  |  |  |  |  |  |  |
|  | - Type, gauge, and grade of sheet metal. |  |  |  |  |  |  |  |  |
|  | - Flashed and counter flashed headwall/closed raked transitions. |  |  |  |  |  |  |  |  |
|  | - Verify L flashing is mechanically fastened. |  |  |  |  |  |  |  |  |
|  | - Intersection points of parapet walls, railings to the wall (not deck or roof). |  |  |  |  |  |  |  |  |
|  | - Proper securing, covering, and sealing of top edge counter flashing. |  |  |  |  |  |  |  |  |
|  | - Drip edge flashing on windows/doors. |  |  |  |  |  |  |  |  |
|  | - Proper location of overflow scuppers. |  |  |  |  |  |  |  |  |
|  | - Counter flashing of pipe penetrations. |  |  |  |  |  |  |  |  |
|  | - Proper installation of gutters to assure water does not leak btwn roof and gutter. |  |  |  |  |  |  |  |  |
|  | - Assure roof gutters emptying at finished grade are hard piped to the street. |  |  |  |  |  |  |  |  |
|  | - Proper installation of parapet copings. |  |  |  |  |  |  |  |  |
| Re-Fitting Roofs | Inspections completed to verify compliance w/ approved drawings and specifications. Inspections include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Existing damage on structural members. |  |  |  |  |  |  |  |  |
|  | - Awareness of re-roofing over damaged roofs. |  |  |  |  |  |  |  |  |
|  | - Existence of entrapped moisture. |  |  |  |  |  |  |  |  |
|  | - Substrate. |  |  |  |  |  |  |  |  |
|  | - Decking systems. |  |  |  |  |  |  |  |  |
| Temporary Roofs | - For new construction or retrofit a temporary roof (extra membrane) is constructed to prevent water intrusion until the permanent roof is complete and tested. |  |  |  |  |  |  |  |  |
|  | - The roof is kept dry during construction process. |  |  |  |  |  |  |  |  |
|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Water Intrusion, Mold Prevention Program | Regardless of the operation, each project has a water intrusion/mold prevention plan that includes but is not limited to: |  |  |  |  |  |  |  |  |
|  | - Written plan addressing prevention of water intrusion & mold growth. |  |  |  |  |  |  |  |  |
|  | - Plan addresses response procedures for immediate action identifying and removing sources of water intrusion/mold growth. |  |  |  |  |  |  |  |  |
|  | - Utilize 3rd party engineering firms who specialize in building envelopes to perform review of bldg. design for water tightness. |  |  |  |  |  |  |  |  |
|  | - Verify MFR’s specs & installation of materials in locations subject to moisture. |  |  |  |  |  |  |  |  |
|  | - Verify use of qualified & mfr. certified installers. |  |  |  |  |  |  |  |  |
|  | - Consult w/ building envelope engineer, architect & owner regarding design flaws that may allow water intrusion. |  |  |  |  |  |  |  |  |
|  | - Ensure identified flaws are reviewed, redesigned, incorporated into bldg. plans, communicated to installers & proper installation is verified. |  |  |  |  |  |  |  |  |
|  | - Construct bldg. in accordance with specs, engineer and architect drawings and instructions. |  |  |  |  |  |  |  |  |
|  | - Regular/routine Inspections material, equipment installation operations. |  |  |  |  |  |  |  |  |
|  | - Document pre-existing water damage, intrusion, or mold conditions. |  |  |  |  |  |  |  |  |
|  | - Documentation includes photos, written reports, logs etc. & maintained in job files. |  |  |  |  |  |  |  |  |
|  | - Water/mold removal equipment available (dehumidifiers, heaters). |  |  |  |  |  |  |  |  |
|  | - Moisture monitoring in damp, wet locations, or locations where potential for water intrusion exists. |  |  |  |  |  |  |  |  |
|  | - Visual observations for moisture indicators such as mold, water lines in drywall, wet spots, discolored ceiling tiles etc... |  |  |  |  |  |  |  |  |
|  | - Conduct regular inspections of potential moisture entry points such as windows, doors, roof systems, membranes, flashing, corners, joints, and exterior penetrations. |  |  |  |  |  |  |  |  |
|  | - Refer to Chubb Construction Water Intrusion Resource Guide & Mold Prevention Checklist for addition information. |  |  |  |  |  |  |  |  |
| Manufacturer Information | Verify manufacturer and building information is delivered to the owner in writing. These items include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Construction documents such as drawings, specifications, and blueprints. |  |  |  |  |  |  |  |  |
|  | - Warranty information. |  |  |  |  |  |  |  |  |
|  | - Safety instructions and requirements. |  |  |  |  |  |  |  |  |
|  | - Start up and operation instructions and procedures. |  |  |  |  |  |  |  |  |
|  | - Maintenance and service instructions. |  |  |  |  |  |  |  |  |
|  | - Installation design plans. |  |  |  |  |  |  |  |  |
|  | - Training for owners, maintenance staff, etc. |  |  |  |  |  |  |  |  |
|  | - Any training products and resources. |  |  |  |  |  |  |  |  |
|  | - Location of utilities and structures. |  |  |  |  |  |  |  |  |
|  | - Identification/labeling of controls, piping or other. |  |  |  |  |  |  |  |  |
|  | - All punch list items, and inspection report deficiencies addressed and corrected to the satisfaction of the inspection agency and/or manufacturer? |  |  |  |  |  |  |  |  |
| ADD |  |  |  |  |  |  |  |  |  |
| ADD |  |  |  |  |  |  |  |  |  |

VERIFICATION STATEMENT I verify that to the best of my knowledge, the inspections and/or tests set out in this installation and verification record were completed by the responsible party shown, that any recommended corrections were made, and that any reports accompanying these inspections/tests were received for review, file and sign off and (if required) PE/RE stamps.

Name (please print in full)

Initials Date

Chubb is the marketing name used to refer to subsidiaries of Chubb Limited providing insurance and related services. For a list of these subsidiaries, please visit our website at www.chubb.com. Insurance provided by ACE American Insurance Company and its U.S. based Chubb underwriting company affiliates.  This document is advisory in nature and is offered for informational purposes only as a resource to be used together with your professional insurance advisors in maintaining a loss prevention program. The information contained in this document is not intended as a substitute for legal, technical, or other professional advice, nor is it intended to supplant any duty to provide a safe workspace, operation, product, or premises. No liabilities or warranties are assumed or provided by the information contained in this document. Chubb, 202 Hall's Mill Road, Whitehouse Station, NJ 08889-1600.